{"text_format":"1","workbook":"xlsx","n_sheets":4,"sheets":["New ALCS","ALCS Upgrade","Navigator","Rev Notes"],"not_rendered":{"charts":0,"images":2,"macros":1,"external_links":0,"defined_names":7,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"New ALCS","index":0,"n_rows":278,"n_cols":11,"rows_kept":278,"cut":false,"hidden":false,"merged":[[109,4,109,5],[108,4,108,5],[99,4,99,5],[7,3,7,6],[8,3,8,6],[92,4,92,5],[90,4,90,5]]}
[{"$f":"CONCATENATE(D8,\"-\",\"New ALCS Worksheet-\",)","v":"-New ALCS Worksheet-"}]
[]
[]
[]
[null,null,"New Airfield Lighting Control and Monitoring System "]
[null,null,"Requirements Gathering Worksheet"]
[]
[null,null,"Project Number:",null,null,null,null,null,null,"Reference: ALCS Quote Worksheet"]
[null,null,"Airport Name:",null,null,null,null,null,null,"Version: v.2.2"]
[null,null,"Configuration options for an Airfield Lighting Control and Monitoring System "]
[null,null,"Please enter the configuration of your remote control system using the drop down menu of each selection box.  Additional comments can be entered in the corresponding boxes."]
[]
[]
[null,null,"Tower"]
[]
[null,null,"HMI MONITOR",null,null,null,"TOWER COMMENTS:"]
[]
[]
[null,null,"NUMBER OF HMI IN THE TOWER"]
[]
[]
[null,null,"AUXILIARY CIRCUITS IN ATC (Beacon, Obstruction lights…)"]
[]
[null,null,"Note: Should be shown on drawings or in written specification"]
[]
[]
[]
[null,null,"Vault"]
[]
[null,null,"NUMBER OF VAULT(S)",null,null,null,"VAULT COMMENTS:"]
[]
[]
[null,null,"NUMBER OF CIRCUITS "]
[]
[]
[null,null,"CONTROL OPTION"]
[]
[]
[null,null,"OUTPUT MONITORING OPTION"]
[]
[]
[null,null,"INPUT MONITORING OPTION"]
[]
[]
[null,null,"IRMS OPTION"]
[]
[]
[]
[]
[null,null,"Maintenance Center"]
[]
[null,null,"NUMBER OF MAINTENANCE HMI",null,null,null,"MAINTENANCE COMMENTS:"]
[]
[]
[]
[]
[]
[]
[null,null,"Roaming Maintenance Computer"]
[]
[null,null,"COMPUTER REQUIREMENTS",null,null,null,"ROAMING MAINTENANCE CENTER COMMENTS:"]
[]
[]
[null,null,"CASE"]
[]
[]
[]
[]
[null,null,"Communication Network"]
[]
[null,null,"TOWER TO VAULT COMM",null,null,null,"COMMUNICATION NETWORK COMMENTS:"]
[]
[]
[null,null,"MAINTENANCE CENTER COMM"]
[]
[]
[null,null,"WIRELESS SITE SURVEY"]
[]
[]
[]
[]
[null,null,"Spares Parts / Training / Testing"]
[null,null,null,null,null,null,null,null,null,null,"COMMENTS:"]
[null,null,"STANDARD SERVICES PROVIDED IF NOT INDICATED IN SPECIFICATIONS:"]
[]
[null,null,"Spare parts Required as part of project"]
[]
[null,null,"Factory Acceptance Test (FAT)"]
[null,null,null,"Days:",null,null,"Number of People "]
[null,null,"Maintenance Training"]
[null,null,null,"Hours:"]
[null,null,"ATCT Training"]
[null,null,null,"Hours:"]
[]
[]
[]
[null,null,"Powerline Carrier (AGLAS or Reliance ILCMS) - Individual Lamp Control & Monitoring"]
[]
[null,null,"REMOTES",null,null,null,null,"COMMENTS:"]
[]
[]
[null,null,"Masters"]
[]
[null,null,"Dual Channel Remotes"]
[null,null,null,null,"NOTE:  Maximum 120 units per circuit"]
[null,null,"Single Channel Remotes"]
[null,null,null,null,"NOTE:  Maximum 120 units per circuit"]
[]
[null,null,"Monitoring Requirements"]
[]
[]
[]
[]
[]
[]
[null,null,"Industrial Computer"]
[null,null,"Hot Standby - Industrial Computers (2)"]
[null,null,"Commercial Computer"]
[null,null,"All-in-One Panel Computer"]
[null,null,"PLC"]
[]
[null,null,"None"]
[null,null,"15\" LCD Touchscreen"]
[null,null,"17\" LCD Touchscreen"]
[null,null,"19\" LCD Touchscreen"]
[null,null,"15\" CRT Monitor "]
[null,null,"17\" CRT Monitor "]
[null,null,"19\" CRT Monitor "]
[null,null,"Other"]
[]
[null,null,"Fiber Optic - SM 5/125"]
[null,null,"Fiber Optic - MM 62.5/125"]
[null,null,"Hardwire - 2-twisted pairs"]
[null,null,"Hardwire - type unknown"]
[null,null,"Wireless - Site Survey Required"]
[null,null,"Dial-up phone line"]
[null,null,"Cellular phone "]
[]
[null,null,"Yes - Audible Tone"]
[null,null,"Yes - Buzzer"]
[null,null,"No"]
[]
[null,null,"Single Link - Point-to-Point"]
[null,null,"Redundant Link(s) - Point-to-Point"]
[null,null,"Token Ring"]
[null,null,"Other - Please complete comments"]
[]
[null,null,0]
[null,null,1]
[null,null,2]
[null,null,3]
[null,null,4]
[]
[null,null,"Single workstation"]
[null,null,"Two redundant workstations"]
[]
[null,null,"Touchscreen"]
[null,null,"Mouse"]
[null,null,"Track Ball"]
[]
[null,null,"None - Control Only"]
[null,null,"Current Sensing Relay (CSR)"]
[null,null,"Current Brightness"]
[null,null,"Lamps Out (Current/Voltage/VA)"]
[]
[null,null,"None"]
[null,null,"Input Current/Voltage"]
[]
[null,null,"PLC"]
[null,null,"ACE™"]
[null,null,"ACE™ Combo "]
[null,null,"ACE II™ "]
[]
[null,null,"No"]
[null,null,"Yes"]
[]
[null,null,"Yes - Complete Comments"]
[null,null,"No"]
[]
[null,null,"None"]
[null,null,"in each substation"]
[null,null,"in each substation, ATC and Maintenance"]
[]
[null,null,"None"]
[null,null,"Laptop"]
[null,null,"Tablet PC"]
[null,null,"Other - Please complete comments"]
[]
[null,null,"None"]
[null,null,"Cabbage Case"]
[null,null,"Tablet Docking Station"]
[null,null,"Other - Please complete comments"]
[]
[null,null,"B/W Dot Matrix "]
[null,null,"B/W Inkjet"]
[null,null,"B/W Laser "]
[null,null,"Color Injet "]
[null,null,"Color Laser "]
[]
[null,null,"No"]
[null,null,"Yes - Dial-up Phone Modem"]
[]
[null,null,"Weather Indication System (AWOS III, MIDAS IV)"]
[null,null,"De-categorised signal"]
[null,null,"UPS & GenSet monitoring"]
[null,null,"Fire detection"]
[]
[null,null,"0 to 100m (Same building)"]
[null,null,"100m to 2km"]
[null,null,"2km to 5km"]
[null,null,"More than 5km"]
[]
[null,null,"1 HMI Workstation"]
[null,null,"2 HMI Workstation"]
[null,null,"3 HMI Workstation"]
[]
[null,null,"Non-witnessed FAT "]
[null,null,"Witnessed FAT - SAS Pays - Specify days / people"]
[null,null,"Witnessed FAT - Customer Pays"]
[null,null,"Witnessed FAT - Contractor Pays"]
[]
[null,null,"None"]
[null,null,"Standard on site SAT - Specify days"]
[null,null,"Special SAT - See Comments"]
[]
[null,null,"Standard Drawings - Specify qty"]
[null,null,"Special Drawings requirements - See Comments "]
[]
[null,null,"Standard Manuals - Specify qty"]
[null,null,"Special Manual requirements - See Comments "]
[]
[null,null,"Standard Training - Specify hours / days"]
[null,null,"Special Training requirements - See Comments "]
[]
[null,null,"8 hours / 1 day / 1 trip"]
[null,null,"16 hours / 2 days / 1 trip"]
[null,null,"24 hours / 3 days / 1 trip"]
[null,null,"32 hours / 4 days / 1 trip"]
[null,null,"40 hours / 5 days / 1 trip"]
[null,null,"Special - See Comments"]
[]
[null,null,"2 hours "]
[null,null,"4 hours"]
[null,null,"8 hours"]
[null,null,"Special - See Comments"]
[]
[null,null,"Operational ready test - See Comments"]
[null,null,"Additional training - See Comments"]
[null,null,"Other - See Comments"]
[]
[null,null,"None"]
[null,null,"Voltage free dry contacts"]
[null,null,"Other - See Comments "]
[]
[null,null,"Same building as ATC"]
[null,null,"Same building as Vault"]
[null,null,"Separate building"]
[]
[null,null,"None"]
[null,null,"Microwave - Southwest"]
[null,null,"Microwave - Tx & Rx"]
[null,null,"Inductive Loops"]
[null,null,"Timers Only"]
[]
[null,null,"None"]
[null,null,"Preset"]
[null,null,"Latching"]
[null,null,"Preset/Latching"]
[]
[null,null,"No BRITE"]
[null,null,"RGL Only"]
[null,null,"RGL & Stopbars"]
[null,null,"Upgrade to Existing BRITE"]
[]
[null,null,"No monitoring / Flashing RGL only"]
[null,null,"RGL Monitoring "]
[null,null,"RGL Control and Monitoring"]
[null,null,"RGL / Stopbar Control and Monitoring "]

{"sheet":"ALCS Upgrade","index":1,"n_rows":274,"n_cols":11,"rows_kept":274,"cut":false,"hidden":false,"merged":[[106,4,106,5],[105,4,105,5],[96,4,96,5],[7,3,7,6],[8,3,8,6],[89,4,89,5],[87,4,87,5]]}
[{"$f":"CONCATENATE(D8,\"-\",\"ALCS Upgrade Worksheet-\",)","v":"-ALCS Upgrade Worksheet-"}]
[]
[]
[]
[null,null,"ALCS Upgrade"]
[null,null,"Requirements Gathering Worksheet"]
[]
[null,null,"Project Number:",null,null,null,null,null,null,"Reference: ALCS Quote Worksheet"]
[null,null,"Airport Name:",null,null,null,null,null,null,"Version: v.2.1"]
[null,null,"Configuration options for an Airfield Lighting Control and Monitoring System "]
[null,null,"Please enter the configuration of your remote control system using the drop down menu of each selection box.  Additional comments can be entered in the corresponding boxes."]
[]
[]
[null,null,"Tower"]
[]
[null,null,"GRAPHICS CHANGES",null,null,null,"TOWER COMMENTS:"]
[]
[]
[null,null,"CONTROL AND PRESET CHANGES"]
[]
[]
[null,null,"PLEASE PROVIDE DETAILS IN COMMENTS SECTION"]
[]
[]
[]
[]
[]
[null,null,"Vault"]
[]
[null,null,"NUMBER OF CIRCUITS ADDED",null,null,null,"VAULT COMMENTS:"]
[]
[]
[null,null,"CONTROL OPTION"]
[]
[]
[null,null,"MONITORING OPTION"]
[]
[]
[null,null,"IRMS OPTION"]
[]
[]
[null,null,"PLEASE PROVIDE DETAILS IN COMMENTS SECTION"]
[]
[]
[]
[]
[null,null,"Maintenance Center"]
[]
[null,null,"MAINTENANCE CENTER CHANGES",null,null,null,"MAINTENANCE COMMENTS:"]
[]
[]
[]
[]
[]
[]
[null,null,"Roaming Maintenance Computer"]
[]
[null,null,"ROAMING MAINT CENTER CHANGES",null,null,null,"ROAMING MAINTENANCE CENTER COMMENTS:"]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Communication Network"]
[]
[null,null,"COMMUNICATION CHANGES",null,null,null,"COMMUNICATION NETWORK COMMENTS:"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Spares Parts / Training / Testing"]
[null,null,null,null,null,null,null,null,null,null,"COMMENTS:"]
[null,null,"STANDARD SERVICES PROVIDED IF NOT INDICATED IN SPECIFICATIONS:"]
[]
[null,null,"ADDITIONAL SPARE PARTS"]
[]
[null,null,"FACTORY ACCEPTANCE TEST [FAT]"]
[null,null,null,"Days:",null,null,"Number of People "]
[null,null,"ADDITIONAL MAINTENANCE TRAINING"]
[null,null,null,"Hours:"]
[null,null,"ADDITIONAL ATCT TRAINING"]
[null,null,null,"Hours:"]
[]
[]
[]
[null,null,"Powerline Carrier (AGLAS or Reliance ILCMS) - Individual Lamp Control & Monitoring"]
[]
[null,null,"REMOTES",null,null,null,null,"COMMENTS:"]
[]
[]
[null,null,"MASTERS"]
[]
[null,null,"Dual Channel Remotes"]
[null,null,null,null,"NOTE:  Maximum 120 units per circuit"]
[null,null,"Single Channel Remotes"]
[null,null,null,null,"NOTE:  Maximum 120 units per circuit"]
[]
[null,null,"Monitoring Requirements"]
[]
[]
[]
[]
[]
[]
[null,null,"Industrial Computer"]
[null,null,"Hot Standby - Industrial Computers (2)"]
[null,null,"Commercial Computer"]
[null,null,"All-in-One Panel Computer"]
[null,null,"PLC"]
[]
[null,null,"None"]
[null,null,"15\" LCD Touchscreen"]
[null,null,"17\" LCD Touchscreen"]
[null,null,"19\" LCD Touchscreen"]
[null,null,"15\" CRT Monitor "]
[null,null,"17\" CRT Monitor "]
[null,null,"19\" CRT Monitor "]
[null,null,"Other"]
[]
[null,null,"Fiber Optic - SM 5/125"]
[null,null,"Fiber Optic - MM 62.5/125"]
[null,null,"Hardwire - 2-twisted pairs"]
[null,null,"Hardwire - type unknown"]
[null,null,"Wireless - Site Survey Required"]
[null,null,"Dial-up phone line"]
[null,null,"Cellular phone "]
[]
[null,null,"Yes - Audible Tone"]
[null,null,"Yes - Buzzer"]
[null,null,"No"]
[]
[null,null,"Single Link - Point-to-Point"]
[null,null,"Redundant Link(s) - Point-to-Point"]
[null,null,"Token Ring"]
[null,null,"Other - Please complete comments"]
[]
[null,null,0]
[null,null,1]
[null,null,2]
[null,null,3]
[null,null,4]
[]
[null,null,"Single workstation"]
[null,null,"Two redundant workstations"]
[]
[null,null,"Touchscreen"]
[null,null,"Mouse"]
[null,null,"Track Ball"]
[]
[null,null,"None - Control Only"]
[null,null,"Current Sensing Relay (CSR)"]
[null,null,"Current Brightness"]
[null,null,"Lamps Out (Current/Voltage/VA)"]
[]
[null,null,"PLC"]
[null,null,"ACE™"]
[null,null,"ACE™ Combo "]
[null,null,"ACE II™ "]
[]
[null,null,"No"]
[null,null,"Yes"]
[]
[null,null,"Yes - Complete Comments"]
[null,null,"No"]
[]
[null,null,"None"]
[null,null,"in each substation"]
[null,null,"in each substation, ATC and Maintenance"]
[]
[null,null,"None"]
[null,null,"Laptop"]
[null,null,"Tablet PC"]
[null,null,"Other - Please complete comments"]
[]
[null,null,"None"]
[null,null,"Cabbage Case"]
[null,null,"Tablet Docking Station"]
[null,null,"Other - Please complete comments"]
[]
[null,null,"B/W Dot Matrix "]
[null,null,"B/W Inkjet"]
[null,null,"B/W Laser "]
[null,null,"Color Injet "]
[null,null,"Color Laser "]
[]
[null,null,"No"]
[null,null,"Yes - Dial-up Phone Modem"]
[]
[null,null,"Weather Indication System (AWOS III, MIDAS IV)"]
[null,null,"De-categorised signal"]
[null,null,"UPS & GenSet monitoring"]
[null,null,"Fire detection"]
[]
[null,null,"0 to 100m (Same building)"]
[null,null,"100m to 2km"]
[null,null,"2km to 5km"]
[null,null,"More than 5km"]
[]
[null,null,"1 HMI Workstation"]
[null,null,"2 HMI Workstation"]
[null,null,"3 HMI Workstation"]
[]
[null,null,"NONE"]
[null,null,"Non-witnessed FAT "]
[null,null,"Witnessed FAT - SAS Pays - Specify days / people"]
[null,null,"Witnessed FAT - Customer Pays"]
[null,null,"Witnessed FAT - Contractor Pays"]
[]
[null,null,"None"]
[null,null,"Standard on site SAT - Specify days"]
[null,null,"Special SAT - See Comments"]
[]
[null,null,"Standard Drawings - Specify qty"]
[null,null,"Special Drawings requirements - See Comments "]
[]
[null,null,"Standard Manuals - Specify qty"]
[null,null,"Special Manual requirements - See Comments "]
[]
[null,null,"NONE"]
[null,null,"Standard Training - Specify hours / days"]
[null,null,"Special Training requirements - See Comments "]
[]
[null,null,"8 hours / 1 day / 1 trip"]
[null,null,"16 hours / 2 days / 1 trip"]
[null,null,"24 hours / 3 days / 1 trip"]
[null,null,"32 hours / 4 days / 1 trip"]
[null,null,"40 hours / 5 days / 1 trip"]
[null,null,"Special-See Comments"]
[]
[null,null,"2 hours "]
[null,null,"4 hours"]
[null,null,"8 hours"]
[null,null,"Special - See Comments"]
[]
[null,null,"Operational ready test - See Comments"]
[null,null,"Additional training - See Comments"]
[null,null,"Other - See Comments"]
[]
[null,null,"None"]
[null,null,"Voltage free dry contacts"]
[null,null,"Other - See Comments "]
[]
[null,null,"Same building as ATC"]
[null,null,"Same building as Vault"]
[null,null,"Separate building"]
[]
[null,null,"None"]
[null,null,"Microwave - Southwest"]
[null,null,"Microwave - Tx & Rx"]
[null,null,"Inductive Loops"]
[null,null,"Timers Only"]
[]
[null,null,"None"]
[null,null,"Preset"]
[null,null,"Latching"]
[null,null,"Preset/Latching"]
[]
[null,null,"No BRITE"]
[null,null,"RGL Only"]
[null,null,"RGL & Stopbars"]
[null,null,"Upgrade to Existing BRITE"]
[]
[null,null,"No monitoring / Flashing RGL only"]
[null,null,"RGL Monitoring "]
[null,null,"RGL Control and Monitoring"]
[null,null,"RGL / Stopbar Control and Monitoring "]

{"sheet":"Navigator","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Rev Notes","index":3,"n_rows":5,"n_cols":4,"rows_kept":5,"cut":false,"hidden":true,"merged":[]}
["Date","Rev #","Person","Description of Change"]
["-"]
["-"]
["-"]
["2012-11-06",2.2000000000000002,"NJH","Updated Logo and changed hyperlink to point to ADB product center for Navigator Config Sheet"]