Suggested Specification: IDM 5013

- Compliance with ICAO: Annex 14 Volume I 6th edition July 2013

- Aerodrome Design Manual Part 4 Visual Aids, 4rd edition 2004

- Low intensity omnidirectional elevated light for:

  - Taxiway edge