Suggested Specification: IDM 5848

- Compliance with ICAO: Annex 14 Volume I 6th edition July 2013

- Aerodrome Design Manual Part 4 Visual Aids, 4rd edition 2004

- FAA AC 150/5345-46D L-862

- High intensity bidirectional elevated light for:

  - Runway Edge

  - Threshold and end light (non-precision approach runways)